|  |  |  |
| --- | --- | --- |
| **Company name (Head office/invoicing entity)** |  | |
| **Owner:** |  | **Manufacturer:** |
| **Order. No.:** |  | **Casenumber:** |
| **Contact person; name and telephone no./E-mail.:** |  | |
| **Inspection date and time:** |  | |
| **Place of inspection** |  | |
| **Serialnumber:** |  | **Evt. internal no.** |
| **Type:** |  | |
| **Year of manufacture:** |  | **Manufacture:** |
| **Danish regulations:**  **Executive Order no. 498:2024, on the use of pressure equipment.**  **Executive Order no. 289 of 24. th. of April 2001 on transportable equipment.**  **Executive Order no. 99 of 31. th. of January 2007, on the design, rebuild and repair of pressure equipment.**  **Executive Order no. 461 of 30. th. of June 2016, on the use and installation control of lifts ect.**  **Executive Order no. 428:2022, on the use of passenger construction site lifts**  **ADR tank** | **Control of installation** (Pressure equipment)  **Verification of safety equipment** (24 - 72 hours)  **Periodic inspection**  **Periodic pressure test**  **Rebuild/repair** (pressure equipment)  **Periodic Inspection** (lift)  **Control of installation** (Elevator, lift og construction hoist)  **Design- and manufacturing control ( Incl. Pressure test)**  **Periodic inspection, incl. Pressure test**  **Leaktest** *ADR Tanks/TPED* | |
| **EU regulations:**  **Directive for pressure equipment. PED-2014/68/EU.**  **Ececutive Order No. 685:2013 (TPED-2010/35/EU) on transportable pressure equipment** | **Assembly approval**  **Module B**  **Module F**  **Module G** (Pressure equipment)  **Design and manufacturing**  **Module B**  **Module F**  **Module G** (Pressure equipment)    **Design review**  **Manufacturing control/ rebuild/repair** | |
| **Description: please detail:** | | |

|  |
| --- |
| General terms and conditions see: [www.bruun-inspektion.dk](http://www.bruun-inspektion.dk) |

**------------------------------------------ ----------------------------------------**

**Signature of the customer** **Signature of Bruun Inspektion**

**Documentation for pressure equipment:**

|  |  |
| --- | --- |
| 1 | Tegninger af trykparten: Drawings: |
| 2 | Beregninger: Calculations: |
| 3 | Beregningstryk og temperaturer: Design Pressure and temperatures: |
| 4 | Prøvningstryk beregnet efter Standard: Test pressure: |
| 5 | Materialebetegnelser og normer af harmoniserede standarder: Material grades and standards: |
| 6 | Certifikat typer: Inspection certificate types: |
| 7 | Svejseprocedurer vedlagt som dokumentation: Welding Procedure Specifications (WPS): |
| 8 | Varmebehandling af formede dele er påført tegninger: Heat treatment of formed parts: |
| 9 | Ikke-destruktive undersøgelser gennemgået efter harmoniserede standarder: Non-destructive tests: |
| 10 | Konstruktions- og fremstillingsnorm(-er): Design and construction standard(-s): |
| 11 | Andre krav: Other demands: |
|  | **Øvrig dokumentation: Other documentation:** |
| 11 | Overensstemmelseserklæring:  Declaration of conformaity: |
| 13 | Risikoanalyse: Risk analyses |
| 14 | Driftsinstruktion: Instructions for use: |

**Documentation for assembly:**

**-**

|  |  |
| --- | --- |
|  | PI-diagram med oversigtsliste over udstyr\*  PI diagram with overview list of equipment\* |
|  | Dokumentation for kedler – beholdere  Overensstemmelseserklæring+brugsanvisning\*  Documentation for boilers - vessels  Declaration of conformity + instructions for use\* |
|  | Dokumentation for rørsystemer \* Overensstemmelseserklæring+brugsanvisning  Documentation for pipe systems \* Declaration of conformity + instructions for use |
|  | Dokumentation for tilbehør\* (Skriv evt. i bemærkninger type og indstillingstryk i bemærkning) Overensstemmelseserklæring+brugsanvisning  Documentation for accessories\* (If necessary, write type and setting pressure in comments) Declaration of conformity + user manual |
|  | Dokumentation for sikkerhedstilbehør\* (Skriv evt. i bemærkninger type og indstillingstryk i bemærkning) Overensstemmelseserklæring+brugsanvisning Documentation for safety accessories\* (If necessary, write type and setting pressure in comments) Declaration of conformity + instructions for use |
|  | El-diagram af sikkerhedskredsen\*  Electrical diagram of the safety circuit\* |
| **Sikkerhedstilbehør/safe equipment** | |
|  | Vurdering af beskyttelsen imod overskridelse af de tilladelige grænser Tryk – temperatur (2.10) (3.2.3)  Assessment of the protection against exceeding the permissible limits Pressure – temperature (2.10) (3.2.3) |
|  | Vurdering af sikkerhedsventilers kapacitet. Beregning for hver del af enheden  Assessment of the capacity of safety valves. Calculation for each part of the unit |
|  | Tørkogningssikring 1 eller 2 stk. afhængig af kedeltype.  - Controller skal være selvovervågende  - Ved 2 stk. skal proberne være separate  Dry boiling protection 1 or 2 pcs. depending on boiler type.  - Controller must be self-monitoring  - For 2 pcs. the probes must be separate |
|  | Vandstand høj ved 72 timers drift:  - Controller.   - Proberne være separate.  Waterlevel high by 72 hours of operation  -Controller  -Probes must be separate |
|  | Overtrykspressostat.  Overpressure switch |
|  | Flammeovervågning (Godkendt til 72 timer). - Kontrolkasse / fyringsautomat. - Flammeføler  Flame monitoring (Approved for 72 hours).  - Control box / firing machine.  - Flame sensor |
|  | Fødevandspumpen giver tilstrækkelig mængde fødevand. For fastbrændselskedler skal der være nødforsyning.  The feed water pump provides a sufficient amount of feed water. For solid fuel boilers, there must be an emergency supply. |
|  | Temperatursikring: overkognings sikring.  Temperature protection: over-boiling protection. |
|  | Temperatursikring for overhedning af materialer.  Temperature protection for overheating of materials |
| **Øvrig dokumentation / Other documentation:** | |
|  | Konstruktions og fremstillingsnorm(-er): for enheden.  Design and manufacturing standard(s): for the assembly. |
|  | Driftsinstruktion: for enheden.  Operating instructions: for the assembly. |
|  | Forslag til mærkeplade: for enheden.  Suggestion for nameplate: for the assembly. |
|  | Overensstemmelseserklæring: for enheden.  Declaration of Conformity: for the assembly. |
|  | Gennemgang af væsentlige sikkerhedskrav: for enheden.  Review of essential safety requirements: for the device: |
|  | Andre krav.  Other requirements. |